## Slide 1: Comparison of neutral gas pressures
W7-X team
1

## Slide 2: comparison OP2.1/2.2/2.3 data (time=5.5 s., 8 s.)
power ok:
EIM000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20240918.5
KJM001+2650 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241001.11
EIM000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241105.10
EHM001+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241106.6
KJM008+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241120.8
EIM000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241203.7
EIM000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241212.9
density ok:
EIM000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241023.10
KJM008+2620 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241112.11
FTM004+2585 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241113.18
FMM002+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241204.9
FTM004+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20250423.32
power and density almost ok:
EIM000-2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20250326.11 (almost ok)
KJM008+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20250508.15 (ne (small overshoot at the start)
EIM000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20250515.8
power and density ok (17 discharges):
EIM000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241008.40 (cryo on)
EIM000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241127.10 (cryo off)
EIM000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241210.7 (cryo off)
EIM000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241212.9 (cryo off)
EIM000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20250513.6 (cryo on)
EIM000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20250514.10 (cryo on)
EJM006-2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20250325.65 (cryo off)
KJM008+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241009.9 (cryo on)
KJM008+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241016.14 (cryo off)
KJM008-2620 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20250311.62 (cryo off?)
KOF000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20250513.54 (cryo on)
KTM000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20250424.6 (cryo off?)
FMM002+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241205.9 (cryo off)
FTM004+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20250506.9 (cryo on)
FTM004+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20250521.9 (cryo on)
FTM004+2585 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241114.10 (cryo on)
FTM000-2620 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20250312.71 (cryo off?)
He/H2 comparison
EIM000+2520 (hydrogen) https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241023.11
EIM000+2520 (helium) https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20250403.61

## Slide 3: EIM OP2.2
power and density ok:
EIM000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241008.40
EIM000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241127.10
EIM000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241210.7
EIM000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241212.7
EIM000-2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20250326.11 (almost ok)
EIM000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241008.40
EIM000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241127.10
EIM000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241127.10
EIM000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241210.7
OP2.2

## Slide 4: EIM OP2.2/OP2.3
power and density ok:
EIM000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241008.40
EIM000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241127.10
EIM000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241210.7
EIM000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241212.7
EIM000-2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20250326.11 (almost ok)
EIM000-2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20250326.11
EIM000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241127.10
about one order of magnitude difference between OP2.2 and OP2.3 (calibration should be checked)
EIM000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20250410.5
OP2.2
OP2.3
OP2.3
reversed field

## Slide 5: EIM OP2.2/OP2.3
power and density ok:
EIM000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241008.40
EIM000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241127.10
EIM000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241210.7
EIM000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241212.7
EIM000-2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20250326.11 (almost ok)
EIM000-2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20250326.11
EIM000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241127.10
EIM000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20250410.5
OP2.2
OP2.3
OP2.3
reversed field
AEH51
AEH51
AEH51

## Slide 6: EIM OP2.1
EIM005+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20230126.4
OP2.1
AEH30

## Slide 7: EIM OP1.2b
EIM+252 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20181018.3
OP1.2b

## Slide 8: EJM OP1.2b
OP1.2b
https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20180814.13
Source: V. Haak

## Slide 9: KKM OP1.2b
OP1.2b
https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20180809.25
Source: V. Haak

## Slide 10: KKM OP1.2b
OP1.2b
https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20180809.27
Source: V. Haak

## Slide 11: KKM OP1.2b
OP1.2b
https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20180809.38
Source: V. Haak

## Slide 12: KKM OP1.2b
OP1.2b
https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20180911.24
Source: V. Haak

## Slide 13: FTM OP1.2b
OP1.2b
https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20180904.22
Source: V. Haak

## Slide 14: FTM OP1.2b
OP1.2b
https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20180904.23
Source: V. Haak

## Slide 15: FTM OP1.2b
OP1.2b
https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20180912.10
Source: V. Haak

## Slide 16: DAM OP1.2b
OP1.2b
https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20180828.19
Source: V. Haak

## Slide 17: DAM OP1.2b
OP1.2b
https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20180828.21
Source: V. Haak

## Slide 18: Calibration OP1.2b
Source: V. Haak

## Slide 19: Comparison AEH30 OP1.2b - OP2.3 in stand. config.
ECRH 3 MW, ne,dl = 5-7e19 m-2
OP2.2: EIM000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241127.10
OP2.3: EIM000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20250410.5
OP2.3: EIM000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20250409.8
OP1.2b: EJM+252 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20180814.13
OP2.1: EIM005+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20230126.4
IAEH30 = 0.28 A, p = 1 x10-4 mbar
IAEH51 = 0.5 A, p = 0.3x10-4 mbar
IAEH30 = 0.34 A, p = 2x10-4 mbar
IAEH51 = 0.40 A, p = 2.6x10-4 mbar
OP1.2b
OP2.1
OP2.2
OP2.3
Iheat, AEH30 = 1.53 A, Iele = 0.0002 A
Iheat, AEH51 = 1.87 A, Iele = 0.0002 A
Iheat = 1.88 A, Iele = 0.0002 A
Iheat = 1.8 A, Iele = 0.0002 A
Iheat = 1.9 A, Iele = 0.0002 A
IAEH30 = 0.27 A, p = 0.5x10-4 mbar

## Slide 20: Comparison AEH30 OP1.2b - OP2.3 in stand. config.
ECRH 3 MW, ne,dl = 5-7e19 m-2
OP2.2: EIM000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20241127.10
OP2.3: EIM000+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20250410.5
OP1.2b: EJM+252 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20180814.13
OP2.1: EIM005+2520 https://w7x-logbook.ipp-hgw.mpg.de/log.html?id=XP_20230126.4
IAEH30 = 0.28 A, p = 1 x10-4 mbar
IAEH51 = 0.27 A,
p (V1) = 0.16x10-4 mbar
p (V2) = 0.5x10-4 mbar
IAEH30 = 0.34 A, p = 2x10-4 mbar
IAEH51 = 0.40 A, p = 2.6x10-4 mbar
OP1.2b
OP2.1
OP2.2
OP2.3
Iheat, AEH30 = 1.53 A, Iele = 0.0002 A
Iheat, AEH51 = 1.87 A, Iele = 0.0002 A
Iheat = 1.88 A, Iele = 0.0002 A
Iheat = 1.8 A, Iele = 0.0002 A
Iheat = 1.9 A, Iele = 0.0002 A
now with corrected calibration
no V2 data for 10.4.2025
V2 data
V1 data
IAEH30 = 0.27 A, p = 0.5x10-4 mbar

## Slide 21: Comparison OP2.2/OP2.3
AEH51 OP2.2
AEH51 OP2.3
AEP30 OP2.2
AEP30 OP2.3

## Slide 22: Comparison AEH51 OP2.2/OP2.3 - pressure
AEH51 OP2.2
AEH51 OP2.3

## Slide 23: Comparison AEH51 OP2.2/OP2.3 – ion current
AEH51 OP2.2
AEH51 OP2.3

## Slide 24: Comparison AEP30 OP2.2/OP2.3 - pressure
AEP30 OP2.2
AEP30 OP2.3

## Slide 25: Comparison AEP30 OP2.2/OP2.3 – ion current
AEP30 OP2.2
AEP30 OP2.3

## Slide 26: Calibration programs (18 pressure levels)
Die untenstehende Liste enthält die Programme und die dazugehörige Verzögerung zwischen erstem Gaspuls (typischerweise so klein, dass das Ventil nicht öffnet). Vorsicht auch mit 20240926.23 - dieses Programm sollten wir komplett rauslassen, es hat einen ganz anderen Aufbau.
[('20240910.29', 25), PP:267560 (EIM000+2520, He, BG034)
('20240910.30', 25), PP:405337 (EIM000+2520, H2, BG013)
13.09.2024 Boronization I
('20240926.21', 60), PP:608266 (He, BG034) (EIM000+2520)
('20240926.22', 60), PP:608269 (H2, BG013) (EIM000+2520)
('20240926.23', 25), PP:593818 (60%He/40%H2), (EIM000+2520)
18 equal inject., each 770 ms, BG034
18.10.2024 Boronization II
22.11.2024 Boronization III
14.02.2025 Boronization IV
('20250218.40', 25), PP:405337 (EIM000-1800, H2, BG013)
('20250220.25', 25), PP:405337 (EIM000-2520, H2, BG013)
('20250220.24', 25), PP:267560 (EIM000-2520, He, BG034)
11.04.2025 Boronization V
('20250604.1', 25), PP:405337 (FMM001+2520, CC=0 (NPC=13.47 kA, PC=-3.79 kA))
('20250605.43', 25)] PP:405337 (EJM+2536=EJM008+2520, CC=0) (NPC=13.19, PC=-1.04 kA)
20240910.30: PP:405337 (H2, BG013)
20250220.25: PP:405337 (H2, BG013)
20250220.24: PP:267560 (Helium, BG034)

## Slide 27: Calibration programs (18 pressure levels)

## Slide 28: Comparison NGM ion currents in OP2.2 and OP2.3

## Slide 29: Comparison NGM ion currents in OP2.2 and OP2.3
AEI50
AEH51
AEP51
AEP30
OP2.2/2.3 comparison: at 6e19 almost the same Iion
AEH51, AEI50, AEP51, AEP30

## Slide 30: Comparison AEH50: H2 2.5T, EIM000+2520 and EIM000-2520
20240910.30 (before B) - blue
20240926.22 (after B) - orange
20250220.25 (after B, reversed field) - green
AEH51, AEI50, AEP51, AEP30
same pressure for blue/red/orange
low pressure for green
same Iion for orange=blue & red=green
why is Iion for red < Iion for blue/orange
Iele ok

## Slide 31: Comparison AEH51: H2 2.5T, EIM000+2520 and EIM000-2520
AEH51, AEI50, AEP51, AEP30
20240910.30 (before B) - blue
20240926.22 (after B) - orange
20250220.25 (after B, reversed field) - green
same pressure for blue/red/orange
low pressure for green
same Iion at higher pressure only
why is Iion for green > Iion for blue/orange/red
(this is different to AEH50 – reversed field?)
Iele too small for red at lower pressures

## Slide 32: Comparison AEI50: H2 2.5T, EIM000+2520 and EIM000-2520
AEH51, AEI50, AEP51, AEP30
same pressure for blue/red/orange
low pressure for green
same Iion at higher pressure only
why is Iion for green > Iion for blue/orange/red
(this is different to AEH50 – reversed field?
data for AEI51?)
Iele ok
20240910.30 (before B) - blue
20240926.22 (after B) - orange
20250220.25 (after B, reversed field) - green

## Slide 33: Comparison AEP51: H2 2.5T, EIM000+2520 and EIM000-2520
AEH51, AEI50, AEP51, AEP30
20240910.30 (before B) - blue
20240926.22 (after B) - orange
20250220.25 (after B, reversed field) - green
same pressure for blue/red/orange
low pressure for green
same Iion at higher pressure only
why is Iion for green > Iion for blue/orange/red
(this is different to AEH50 – reversed field?
data for AEP50?)
Iele too low at 50 A for red

## Slide 34: Comparison AEP30: H2 2.5T, EIM000+2520 and EIM000-2520
AEH51, AEI50, AEP51, AEP30
20240910.30 (before B) - blue
20240926.22 (after B) - orange
20250220.25 (after B, reversed field) - green
same pressure for blue/red/orange
low pressure for green
same Iion at higher pressure
why is Iion for green > Iion for blue/orange/red
(this is different to AEH50 – reversed field?
data for AEP31?)
Iele ok

## Slide 35: Comparison AEL10: H2 2.5T, EIM000+2520 and EIM000-2520
AEH51, AEI50, AEP51, AEP30
20240910.30 (before B) - blue
20240926.22 (after B) - orange
20250220.25 (after B, reversed field) - green
same pressure for blue/red/orange
low pressure for green
same Iion at higher pressure only
why is Iion for green > Iion for blue/orange/red
Iele ok

## Slide 36: Comparison AEH50: H2 1.8T, EIM000-1800
20250218.40 (after B)
AEH51, AEI50, AEP51, AEP30

## Slide 37: Comparison AEH50: H2, EIM000+2520 and EIM000-1800
20240910.30 (before B) - blue
20240926.22 (after B) - orange
20250218.40 (after B, reversed field) - green
AEH51, AEI50, AEP51, AEP30
same pressure for blue/orange
low pressure for green
same Iion for orange=blue
significant smaller Iion values for green
Source: PhD Thesis B. Jagielski

## Slide 38: Comparison AEH51: H2, EIM000+2520 and EIM000-1800
AEH51, AEI50, AEP51, AEP30
20240910.30 (before B) - blue
20240926.22 (after B) - orange
20250218.40 (after B, reversed field) - green
same pressure for blue/orange
low pressure for green
same Iion at higher pressure only
similar Iion values for green
at higher pressure

## Slide 39: Comparison AEI50: H2, EIM000+2520 and EIM000-1800
AEH51, AEI50, AEP51, AEP30
same pressure for blue/orange
low pressure for green
same Iion at higher pressure only
similar Iion values for green
at higher pressure
20240910.30 (before B) - blue
20240926.22 (after B) - orange
20250218.40 (after B, reversed field) - green

## Slide 40: Comparison AEP51: H2, EIM000+2520 and EIM000-1800
AEH51, AEI50, AEP51, AEP30
20240910.30 (before B) - blue
20240926.22 (after B) - orange
20250218.40 (after B, reversed field) - green
same pressure for blue/orange
low pressure for green
same Iion at higher pressure only
similar Iion values for green
at higher pressure

## Slide 41: Comparison AEP30: H2, EIM000+2520 and EIM000-1800
AEH51, AEI50, AEP51, AEP30
20240910.30 (before B) - blue
20240926.22 (after B) - orange
20250218.40 (after B, reversed field) - green
same pressure for blue/orange
low pressure for green
same Iion at higher pressure
similar Iion values for green

## Slide 42: Comparison AEL10: H2, EIM000+2520 and EIM000-1800
AEH51, AEI50, AEP51, AEP30
20240910.30 (before B) - blue
20240926.22 (after B) - orange
20250218.40 (after B, reversed field) - green
same pressure for blue/orange
low pressure for green
same Iion at higher pressure only
similar Iion values for green
at higher pressure

## Slide 43: Comparison OP2.2 and OP2.3: best performing NGM
hydrogen, AEH50
helium, AEP30, AEI50
AEI50, He
AEP30, He
AEH50, H2

## Slide 44: Comparison NGM ion currents in OP2.2 and OP2.3

## Slide 45: Comparison